## carrier_mapping
original_carrier | mapped_carrier
bituminous | coal
anthracite | coal
oil | oil
heavy oil | oil
diesel | oil
LNG | gas
nuclear | nuclear
bio | bio
solar | solar
wind | wind
hydro | hydro
ocean | others
PSH | PSH
miscellaneous | others
fuelcell | others
IGCC | others
waste | others

## generator_attributes
carriers | p_min_pu | p_max_pu | ramp_limit_up | ramp_limit_down | min_cf | max_cf
gas | 0.2 | 1 | 0.2 | 0.2 | 0.2 | 0.4
coal | 0.2 | 1 | 0.1 | 0.1 | 0.4 | 0.6
oil | 0 | 1 | 0.2 | 0.2 | 0 | 1
nuclear | 0.7 | 1 | 0.1 | 0.1 | 0.7 | 1
hydro | 0 | 1 | 0.2 | 0.2 | 0 | 1
bio | 0.2 | 1 | 0.2 | 0.2 | 0 | 1
default | 0 | 1 | 1 | 1 | 0 | 1

## carrier_order
carriers
PSH
wind
solar
hydro
others
oil
bio
gas
coal
nuclear

## global_constraints
carrier | max_cf | min_cf
gas | 1
coal | 1
nuclear |  | 0

## file_paths
setting | value
monthly_data_file | data/add/monthly_t.csv
snapshot_data_file | data/add/snapshot_t.csv
base_year | 2024
base_file_path | data/Provincenode2024

## province_mapping
short | official
강원 | 강원특별자치도
경기 | 경기도
경남 | 경상남도
경북 | 경상북도
광주 | 광주광역시
대구 | 대구광역시
대전 | 대전광역시
부산 | 부산광역시
서울 | 서울특별시
세종 | 세종특별자치시
울산 | 울산광역시
인천 | 인천광역시
전남 | 전라남도
전북 | 전북특별자치도
제주 | 제주특별자치도
충남 | 충청남도
충북 | 충청북도

## province_demand
province | demand
강원특별자치도 | 16688343.26
경기도 | 143301641.2
경상남도 | 36577869.85
경상북도 | 43732809.12
광주광역시 | 9343347.78
대구광역시 | 16746899.1
대전광역시 | 10169884.22
부산광역시 | 21851299.98
서울특별시 | 50351994.21
세종특별자치시 | 4151675.83
울산광역시 | 31919080.79
인천광역시 | 25964394.54
전라남도 | 33580743.73
전북특별자치도 | 21640147.1
제주특별자치도 | 6196556.31
충청남도 | 50036919.77
충청북도 | 27567058.05
합계 | 549820664.83

## regional_settings
setting | value
national_region | KR

## cc_merge_rules
attribute | rule
build_year | oldest
capital_cost | largest
p_nom | sum
others | p_nom
name | cc_group

## years
year
2024

## NOTES_MANUAL
Documentation
═══════════════════════════════════════════════════════════════════════════
PYPSA ALTERNATIVE - PROVINCE-LEVEL CONFIGURATION
═══════════════════════════════════════════════════════════════════════════
This config aggregates the network by provinces (17 provinces in Korea).
Each province becomes a single bus, with generators and loads mapped accordingly.
═══════════════════════════════════════════════════════════════════════════
TAB: REGIONAL_AGGREGATION
═══════════════════════════════════════════════════════════════════════════
Main aggregation settings:
- region_column: Column in buses.csv to aggregate by (default: "province")
- aggregate_generators_by_carrier: TRUE = merge generators by (carrier, region)
Result: One generator per (carrier, province) combination
Example: All LNG generators in 경기 → single "LNG_경기" generator
- demand_file: Excel/CSV with province demand shares
- province_mapping_file: Maps official province names to short names
- load_carrier: Carrier for regional loads (leave empty for default)
═══════════════════════════════════════════════════════════════════════════
TAB: GENERATOR_REGION_AGGREGATOR_RULES
═══════════════════════════════════════════════════════════════════════════
Defines how to aggregate STATIC generator attributes when merging by (carrier, region).
AVAILABLE RULES:
- carrier: Use the carrier value itself
- region: Use the region value itself (for bus, uses standardized short name)
- sum: Sum all values
- mean: Average all values
- oldest: Use minimum value (for build_year)
- newest: Use maximum value
- largest: Use maximum value
- smallest: Use minimum value
- p_nom: Use value from generator with largest p_nom
- ignore: Do not copy this attribute
- Fixed value: Any string/number (e.g., "PQ" sets control to PQ)
EXAMPLES:
- p_nom: sum → Total capacity = sum of all generators
- efficiency: mean → Average efficiency across generators
- bus: region → Connect to regional bus
- control: PQ → Set all aggregated generators to PQ control
═══════════════════════════════════════════════════════════════════════════
TAB: GENERATOR_T_AGGREGATOR_RULES
═══════════════════════════════════════════════════════════════════════════
Defines how to aggregate TIME-SERIES generator data (generators_t) when merging.
This controls hourly/snapshot data aggregation.
AVAILABLE RULES:
- sum: Sum across all generators (use for power outputs like p_set, p_max_pu)
- mean: Average across all generators (use for costs, efficiency)
- max: Maximum across all generators
- min: Minimum across all generators
TYPICAL SETTINGS:
- p_set, p_min_pu, p_max_pu: sum (total power capacity)
- marginal_cost, fuel_cost: mean (average cost)
- efficiency: mean (average efficiency)
IMPORTANT:
- Time-series data is aggregated AFTER static attributes
- Each timestamp is aggregated independently
- Missing data is handled automatically (NaN excluded from calculations)
═══════════════════════════════════════════════════════════════════════════
TAB: LINES_CONFIG
═══════════════════════════════════════════════════════════════════════════
Controls how AC transmission lines between provinces are aggregated.
SETTINGS:
- grouping: by_voltage (keep different voltages separate) or ignore_voltage
- circuits_rule: sum (total circuits), max, or mean
- s_nom_rule: scale_by_circuits (s_nom × circuits), sum, max, or keep_original
- impedance_rule: weighted_by_circuits (recommended), mean, min, or max
- length_rule: mean (average length), max, or min
- remove_self_loops: TRUE = remove lines within same province
═══════════════════════════════════════════════════════════════════════════
TAB: LINKS_CONFIG
═══════════════════════════════════════════════════════════════════════════
Controls how DC links between provinces are aggregated (if any exist).
Same options as lines_config, plus:
- default_efficiency: Transmission efficiency (1.0 = 100%)
- unlimited_capacity: MW value to use when aggregated p_nom = 0
═══════════════════════════════════════════════════════════════════════════
WORKFLOW
═══════════════════════════════════════════════════════════════════════════
1. Load network from Provincenode2024 (has province column)
2. Merge combined cycle generators
3. Apply monthly and snapshot data
4. Aggregate by province:
- Create one bus per province
- Map all generators to province bus
- Merge generators by (carrier, province) using generator_region_aggregator_rules
- Aggregate generators_t data using generator_t_aggregator_rules
- Aggregate inter-province lines/links
- Distribute loads by province demand
5. Standardize carrier names
6. Apply generator/storage attributes
7. Apply energy constraints
8. Optimize
RESULT: 17-bus network (one bus per province) with inter-province transmission
═══════════════════════════════════════════════════════════════════════════
CUSTOMIZATION GUIDE
═══════════════════════════════════════════════════════════════════════════
To customize aggregation behavior:
1. STATIC ATTRIBUTES (generator_region_aggregator_rules):
Add/modify rows to control how generator properties are combined
Example: Change "p_nom: sum" to "p_nom: max" to use largest capacity
2. TIME-SERIES DATA (generator_t_aggregator_rules):
Add/modify rows to control how hourly data is combined
Example: Change "marginal_cost: mean" to "marginal_cost: max" for worst-case costs
3. LINES/LINKS (lines_config, links_config):
Adjust how transmission capacity is calculated between provinces
ALL RULES ARE USER-CONFIGURABLE - Edit these sheets to fit your analysis needs!
═══════════════════════════════════════════════════════════════════════════
Last Updated: 2025-11-10

## regional_aggregation
setting | value | description
region_column | province | Column name to aggregate by
aggregate_by_region | TRUE | Merge generators by region
aggregate_by_carrier | FALSE | Merge generators by carrier
demand_file | data/others/province_demand.xlsx | Regional demand file
province_mapping_file | data/others/province_mapping.csv | Province name mapping
load_carrier |  | Carrier for loads (empty for none)

## lines_config
setting | value | description
grouping | by_voltage | by_voltage or ignore_voltage
circuits_rule | sum | sum, max, or mean
s_nom_rule | scale_by_circuits | keep_original, sum, max, or scale_by_circuits
impedance_rule | weighted_by_circuits | weighted_by_circuits, mean, min, or max
length_rule | mean | mean, max, or min
remove_self_loops | TRUE | Remove intra-regional lines

## links_config
setting | value | description
grouping | ignore_voltage | by_voltage or ignore_voltage
p_nom_rule | sum | sum, max, or keep_original
default_efficiency | 1.0 | Transmission efficiency (1.0 = 100%)
unlimited_capacity | 1000000 | Capacity when p_nom=0 (MW)
length_rule | mean | mean, max, or min
remove_self_loops | TRUE | Remove intra-regional links

## generator_region_agg_rules
attribute | rule | description
carrier | carrier | Use the carrier value itself
province | region | Use the region value itself
bus | region | Connect to regional bus
control | PQ | Set control to PQ
p_nom | sum | Sum all p_nom values
efficiency | mean | Use mean efficiency
marginal_cost | mean | Use mean marginal cost
capital_cost | mean | Use mean capital cost
x | mean | Average x coordinate
y | mean | Average y coordinate
build_year | oldest | Use oldest build year
ramp_limit_up | mean | Average ramp up limit
ramp_limit_down | mean | Average ramp down limit
p_min_pu | mean | Average minimum power
p_max_pu | mean | Average maximum power
others | ignore | Default: ignore unspecified attributes

## generator_t_aggregator_rules
attribute | rule | description
p_set | sum | Sum power setpoints across generators
p_min_pu | mean | Sum minimum power per unit
p_max_pu | mean | Sum maximum power per unit
marginal_cost | mean | Average marginal cost
fuel_cost | mean | Average fuel cost
efficiency | mean | Average efficiency
others | mean | Default: average for unspecified attributes